Laois and Offaly ETB

Programme Module for

Laboratory Skills

Leading to

Level 5 QQI

Laboratory Skills

5N2751

## Introduction

This programme module may be delivered as a standalone module leading to certification in a QQI minor award. It may also be delivered as part of an overall validated programme leading to a Level 5 QQI Certificate.

The teacher/tutor should familiarise themselves with the information contained in City of Dublin Education & Training Board’s programme descriptor for the relevant validated programme prior to delivering this programme module.

The programme module is structured as follows:

# Title of Programme Module

Laboratory Skills

# Component Name and Code

Laboratory Skills 5N2751

# Duration in Hours

150 Hours (typical learner effort, to include both directed and self-directed learning)

# Credit Value

15 Credits

# Status

This programme module may be compulsory or optional within the context of the validated programme. Please refer to the relevant programme descriptor, Section 9 Programme Structure

# Special Requirements

Access to a science laboratory meeting current Health & Safety standards.

# Aim of the Programme Module

This programme module aims to introduce the learner to a broad range of laboratory skills so they can use equipment & materials to conduct experiments under relevant safe & health regulations in any science laboratory environment

# Objectives of the Programme Module

- To enable the learner to develop logical processes of thought, reasoning and communication

- To facilitate the learner to demonstrate constant awareness of safe working procedures in a laboratory environment

- To assist the learner to develop skills and competencies in the preparation, use and maintenance of laboratory equipment

- To facilitate the learner to understand, plan and perform a range of laboratory procedures

- To enable the learner to observe, record, analyse and interpret data

- To enable the learner to appreciate the role of the technologies in the laboratory environment

- To assist the learner to develop the academic and vocational language, literacy and numeracy skills related to laboratory skills through the medium of the indicative content

- To enable the learner to take responsibility for his/her own learning.

# Learning Outcomes of Level 5 Laboratory Skills 5N2751

Learners will be able to:

- Recognise international hazard warning symbols and labels and outline the procedures and

arrangements for the safe storage and disposal of chemicals

- Outline safety procedures to be followed when operating in a laboratory and the standard procedures in the event of a personal accident or major laboratory accident

- Use correct procedures in working with electrical and gas supply systems distinguishing between different types of fire extinguishers, classifying different types of fires and the appropriate fire extinguisher

- Demonstrate an ability to use a variety of safety equipment in the laboratory

- Outline the procedures to separate substances to determine the percentage yields including, simple and fractional distillation, gravity and vacuum filtration: chromatography, recrystallisation, centrifugation and liquid/liquid extraction

- Explain the Biuret and Bradford methods of determining protein concentration

- Prepare sterile nutrient media and culture using aseptic techniques including, isolating and inoculating micro-organisms

- Identify common bacteria and fungi using microscopic techniques to include their classification

- Explain the role of disinfectants and fungicides in the control of microbial growth and determine, using serial dilution, the bacterial concentration of a liquid

- Use automatic micro-pipettes to transfer a variety of volumes of solutions

- Use pre-prepared wax slides of a variety of tissue types to include dewaxing and staining

- Prepare common laboratory solutions applying scientific calculations, including indicators, reagents, buffers, stains, primary standard solutions and standardise solutions using titration techniques for acid or base and redox reactions

- Separate substances using some of the following techniques to determine the percentage yields, simple and fractional filtration, distillation, gravity and vacuum filtration, chromatography, recrystallisation, centrifugation and liquid/liquid extraction

- Digest deoxyribonucleic acid (DNA) using restriction enzymes and separate deoxyribonucleic acid fragments using a garose gelelectrophoresis

- Use standard techniques to carry out an Enzyme-linked immunosorbent assay (ELISA)

- Determine protein concentration using spectroscopy

- Maintain stock control and equipment records including, material safety disposal sheet (MSDS), storage plan and disposal records

- Follow the correct procedures for the handling and sterilizing of dissection instruments and for investigating and storing biological specimens

- Follow appropriate procedures and codes of practice for handling chemical and biological materials correctly and for the safe use of ionizing radiations

- Handle safely, standard glassware and precision equipment including titration equipment, distillation equipment, pipette, burette, micrometer, pH meter, microscope, balance, multimeter and oscilloscope

- Perform statistical pH analysis on data, including determination of mean, median, mode, standard deviation and standard error presenting conclusions derived from analysis appropriately

- Construct a standard concentration curve and use the curve to determine unknown concentrations of solutions

- Evaluate laboratory work considering planning, observations and time management.

# Indicative Content

### Section 1: Health & Safety

Facilitate the learner to:

- Recognise international hazard warning symbols and labels

- Identify procedures and arrangements for the safe storage and disposal of chemicals

- Use safety procedures to be followed when operating in the laboratory

- Outline standard procedures in the event of a personal accident or major laboratory accident

- Use correct procedures in working with electrical and gas supply systems to include

- Classifying different types of fires

- Distinguishing between different types of fire extinguishers

- Acquire an ability to use a variety of safety equipment in the laboratory

- Maintain stock control and equipment records to include

- MSDS

- Storage plans

- Disposal records

- Carry out procedures for the handling and sterilising of dissection instruments

- Carry out the correct procedures for storage and investigation of biological specimens

- Follow appropriate procedures and codes of practice for the correct handling of the following:

- Chemical materials

- Biological materials

- Ionizing radiations

### Section2: Separation Techniques

Facilitate the learner to:

- Handle safely standard glassware and precision equipment

- Carry out procedures to separate substances and determine the percentage yields using some of the following techniques:

- Simple and fractional distillation

- Gravity and vacuum filtration

- Chromatography

- Recrystallisation

- Centrifugation

- Liquid/liquid extraction

- Perform statistical analysis on data including:

- Mean

- Mode

- Standard deviation

- Standard error

- Present conclusions derived from these analysis

- Evaluate laboratory work

### Section 3: Standard Curves

Facilitate the learner to:

- Construct a standard curve of absorbance versus concentration of a variety of coloured solutions such as

- methyl orange

- brilliant green

- methylene blue

- Carry out the biuret test to construct a standard curve to find the protein concentration of a solution

- Carry out the Bradford test to construct a standard curve to find the protein concentration of a solution

- Construct a bacterial growth curve to determine the bacterial concentration of a liquid

- Carry out an Enzyme – linked immunosorbent assay (ELISA)

### Section 4: Microbiology

Facilitate the learner to:

- Prepare sterile nutrient media and culture using aseptic techniques including:

- Isolating micro-organisms

- Inoculating micro-organisms

- Identify common bacteria and fungi using microscopic techniques

- Investigate the role of disinfectants and fungicides in the control of microbial growth

- Use serial dilution to determine the bacterial concentration of a liquid

- Follow procedures handling and sterilising equipment used in microbiology

- Evaluate laboratory work

### Section 5:  Histology

Facilitate the learner to:

- Dewax pre-prepared wax slides

- Carry out histological staining techniques such as

- PAS stain for mucus

- The Elastic Stain

- H. & E. Stain

- Maygrundwald stain

- Giemsa Stain

- Jenner’s Stain

- Acid Fast Stain

- Silver Stain

- Gram Stain

### Section 6: Volumetric Analysis

Facilitate the learner to:

- Prepare common laboratory solutions including:

- Indicators

- Reagents

- Buffers

- Stains

- Primary standard solutions

- Perform acid base titrations

- Perform redox reactions

- Follow appropriate procedures for safe handling of chemical materials, standard glassware and precision equipment.

- Evaluate laboratory work

### Section 7:  Electrophoresis

Facilitate the learner to:

- Digest deoxyribonucleic acid (DNA) using restriction enzymes

- Separate fragments using agrose gel electrophoresis

- Carry out DNA fingerprinting

# Assessment

11a.	Assessment Techniques

Skills Demonstration 40%

Learner Record 20%

Project 40%

11b.	Mapping of Learning Outcomes to Assessment Techniques
In order to ensure that the learner is facilitated to demonstrate the achievement of all learning outcomes from the component specification; each learning outcome is mapped to an assessment technique(s). This mapping should not restrict an assessor from taking an integrated approach to assessment.

| Learning Outcome | Assessment Technique |
| --- | --- |
| - Recognise international hazard warning symbols and labels and outline the procedures and arrangements for the safe storage and disposal of chemicals | Skills Demonstration |
| - Outline safety procedures to be followed when operating in a laboratory and the standard procedures in the event of a personal accident or major laboratory accident | Skills Demonstration |
| - Use correct procedures in working with electrical and gas supply systems distinguishing between different types of fire extinguishers, classifying different types of fires and the appropriate fire extinguisher | Skills Demonstration |
| - Demonstrate an ability to use a variety of safety equipment in the laboratory | Skills Demonstration |
| - Outline the procedures to separate substances to determine the percentage yields including, simple and fractional distillation, gravity and vacuum filtration: chromatography, recrystallisation, centrifugation and liquid/liquid extraction | Skills Demonstration and/or Learner Record |
| - Explain the Biuret and Bradford methods of determining protein concentration | Skills Demonstration and/or Learner Record and/or Project |
| - Prepare sterile nutrient media and culture using aseptic techniques including, isolating and inoculating micro-organisms | Skills Demonstration and/or Learner Record and/or Project |
| - Identify common bacteria and fungi using microscopic techniques to include their classification | Skills Demonstration and/or Learner Record and/or Project |
| - Explain the role of disinfectants and fungicides in the control of microbial growth and determine, using serial dilution, the bacterial concentration of a liquid | Skills Demonstration and/or Learner Record and/or Project |
| - Use automatic micro-pipettes to transfer a variety of volumes of solutions | Skills Demonstration and/or Learner Record and/or Project |
| - Use pre-prepared wax slides of a variety of tissue types to include dewaxing and staining | Skills Demonstration and/or Learner Record and/or Project |
| - Prepare common laboratory solutions applying scientific calculations, including indicators, reagents, buffers, stains, primary standard solutions and standardise solutions using titration techniques for acid or base and redox reactions | Skills Demonstration and/or Learner Record and/or Project |
| - Separate substances using some of the following techniques to determine the percentage yields, simple and fractional filtration, distillation, gravity and vacuum filtration, chromatography, recrystallisation, centrifugation and liquid/liquid extraction | Skills Demonstration and/or Learner Record |
| - Digest deoxyribonucleic acid (DNA) using restriction enzymesand separate deoxyribonucleic acid fragments using agarose gelelectrophoresis | Skills Demonstration and/or Learner Record and/or Project |
| - Use standard techniques to carry out an Enzyme-linked immunosorbent assay (ELISA) | Skills Demonstration and/or Learner Record |
| - Determine protein concentration using spectroscopy | Skills Demonstration and/or Learner Record and/or Project |
| - Maintain stock control and equipment records including, material safety disposal sheet (MSDS), storage plan and disposal records | Skills Demonstration |
| - Follow the correct procedures for the handling and sterilizing of dissection instruments and for investigating and storing biological specimens | Skills Demonstration |
| - Follow appropriate procedures and codes of practice for handling chemical and biological materials correctly and for the safe use of ionizing radiations | Skills Demonstration |
| - Handle safely, standard glassware and precision equipment including titration equipment, distillation equipment, pipette, burette, micrometer, pH meter, microscope, balance, multimeter and oscilloscope | Skills Demonstration and/or Learner Record |
| - Perform statistical pH analysis on data, including determination of mean, median, mode, standard deviation and standard error presenting conclusions derived from analysis appropriately | Skills Demonstration and/or Learner record and /or Project |
| - Construct a standard concentration curve and use the curve to determine unknown concentrations of solutions | Skills Demonstration and/or Learner record and /or Project |
| - Evaluate laboratory work considering planning, observations and time management. | Skills Demonstration and/or Learner record and /or Project |

11c.  	Guidelines for Assessment Activities

The assessor is required to devise assessment briefs and marking schemes for the Skills Demonstration, Learner Record & Project.  In devising the assessment briefs, care should be taken to ensure that the learner is given the opportunity to show evidence of achievement of ALL the learning outcomes.  Assessment briefs may be designed to allow the learner to make use of a wide range of media in presenting assessment evidence, as appropriate. Quality assured procedures must be in place to ensure the reliability of learner evidence.

| Skills Demonstration | 40% |
| --- | --- |
| This work may be collected throughout the duration of the programme module. |  |
| In one or more skills demonstrations, learners will be assessed in a broad range of practical skills and knowledge while carrying out at least 5 practical investigations. The area of investigation can be taken from a range of the following Learning Outcomes: 6, 7 8, 9, 10, 11, 12, 14, 16, 21, 22, 23. All instructions for the learner must be clearly outlined in an assessment brief. Learning outcomes not assessed in the Skills Demonstration assessment technique must be assessed in either or both of the 2 other techniques – Project and/or Learner Record. Learners will demonstrate adherence to safe working practices throughout the skills demonstration(s) and will maintain a primary record of results and /or observations and any other influencing factors as part of the skills demonstration. Evidence for this assessment technique may take the form of written, oral, graphic, audio, visual or digital evidence, or any combination of these. Any audio, video or digital evidence must be provided in a suitable format. All instructions for the learner must be clearly outlined in an assessment brief. |  |

| Learner Record | 20% |
| --- | --- |
| This will be compiled throughout the duration of the programme |  |
| A personal laboratory notebook will be compiled by learners. The notebook can cover a range of the following Learning Outcomes: 6, 7 8, 9, 10, 11, 12, 14, 16, 21, 22, 23. All instructions for the learner must be clearly outlined in an assessment brief. Learning outcomes not assessed in the Learner Record assessment technique must be assessed in either or both of the 2 other techniques – Skills Demonstration and/or Project. It will include the laboratory reports of at least 5 practical investigations completed by the learners. The laboratory report will describe all the stages of the procedure from set up to collection of data and conclusions. The aims of each investigation will also included, as well as a description of the materials and methodology which was used, a record of all results and observations, and an analysis of the findings. The primary record of results and/or observations and any additional information completed during each of the practical investigations reported will be included. Evidence for this assessment technique may take the form of written, oral, graphic, audio, visual or digital evidence, or any combination of these. Any audio, video or digital evidence must be provided in a suitable format. All instructions for the learner must be clearly outlined in an assessment brief. |  |
| Project | 40% |
| The project shall be carried may be carried out at any stage throughout the duration of the programme. |  |
| The learner is required to complete a research project. The area of investigation can be taken from a range of the following Learning Outcomes: 6, 7 8, 9, 10, 11, 12, 14, 16, 21, 22, 23. All instructions for the learner must be clearly outlined in an assessment brief. Learning outcomes not assessed in the Project assessment technique must be assessed in either or both of the 2 other techniques – Skills Demonstration and/or Learner Record. Appropriate time must be spent in the laboratory carrying out the experimental techniques. In the laboratory the learner must - Demonstrate effective adherence to Health and Safety guidelines - Selection and use appropriate laboratory techniques Evidence for this assessment technique must take the form of a written report. The report must contain - A clear statement of objectives - An accurate measurements and/or observations and maintenance of a primary record - An Accurate record of results and/or observations - A comprehensive analysis of results and/or accurate calculations - A logical interpretation and conclusions based on results and/or observations All instructions for the learner must be clearly outlined in an assessment brief |  |

# Grading

Distinction: 	80% - 100%

Merit: 		65% - 79%

Pass: 		50% - 64%

Unsuccessful: 	0% - 49%

At levels 4, 5 and 6 major and minor awards will be graded. The grade achieved for the major award will be determined by the grades achieved in the minor awards.

| Laboratory Skills 5N2751 | Learner Marking Sheet Skills Demonstration 40% Learner Record 20% |
| --- | --- |

Learner’s Name: ________________________________

| Assessment Criteria | Maximum Mark |  | Learner Mark |
| --- | --- | --- | --- |
| Skills Demonstration |  |  |  |
| Effective adherence to Health and Safety guidelines | 10 |  |  |
| ## Effective adherence to Procedures | 15 |  |  |
| ## Accurate measurements and/or observations and maintenance of a primary record | 15 |  |  |
| ## Subtotal | 40 |  |  |
| Learner Record |  |  |  |
| Comprehensive description of aims, materials and methodology | 5 |  |  |
| ## Accurate record of results and/or observations | 5 |  |  |
| ## Comprehensive analysis of results and /or interpretation of observations and/or accurate calculations | 5 |  |  |
| ## Logical conclusions based on results and/or observations | 5 |  |  |
| Subtotal | 20 |  |  |
| TOTAL MARK | 60 |  |  |

NO ROUNDING OF MARKS

The Assessor has signed the Summary Results Sheet to verify that the evidence presented in the attached portfolio is the work of the named learner and that the marks awarded here have been transcribed to the Summary Results Sheet

External Authenticator's Signature: ............................................................   Date: ...............................

| Laboratory Skills 5N2751 | Learner Marking Sheet Project 40% |
| --- | --- |

Learner’s Name: ________________________________

| Assessment Criteria | Maximum Mark | Learner Mark |
| --- | --- | --- |
| Clear statement of objectives | 5 |  |
| ## Effective adherence to Health and Safety guidelines | 5 |  |
| ## Appropriate selection and use of relevant laboratory techniques | 10 |  |
| Accurate measurements and/or observations and maintenance of a primary record | 5 |  |
| ## Accurate record of results and/or observations | 5 |  |
| ## Comprehensive analysis of results and/or accurate calculations | 5 |  |
| ## Logical interpretation and conclusions based on results and/or observations | 5 |  |
| TOTAL MARKS | 40 |  |

NO ROUNDING OF MARKS

The Assessor has signed the Summary Results Sheet to verify that the evidence presented in the attached portfolio is the work of the named learner and that the marks awarded here have been transcribed to the Summary Results Sheet

External Authenticator's Signature: ............................................................   Date: ...............................